| Title of the course: Environmental Technologies and Operations I.- Water and waste-water treatment technologies |  |  |  | NEPTUN-code: RKXKM1ABNF | Weekly teaching hours: l+cw+lw 1+2+0 | Credit: 4 Exam type: e |
| --- | --- | --- | --- | --- | --- | --- |
| Course leader: Rita Kendrovics-Boda, Ph.D. |  |  | Position: associate professor |  | Required preliminary knowledge: RKXKE1ABNF |  |
| Curriculum: |  |  |  |  |  |  |
| The course objective is to show water (drinking) and wastewater treatment technologies and the requirements of drinking water, law and standard of drinking water and cleaned wastewater. The first aim of this course is to provide technological knowledge about advanced drinking water treatment. Focus is on both, conventional and new, emerging technologies. The course discusses relevant unit processes involved, and their role and location in a typical treatment chain. Physical, chemical and biological unit processes will be covered in the course. Further emphasis is on the effect of treatment on water quality and the transformations taking place in the water phase. The second aim of this course is to describe wastewater definition, types of wastewaters, and components of wastewater and sewer systems. Introduces wastewater treatment steps: Pre-treatment, Primary, Secondary and Tertiary treatment steps and available technologies within each step. Highlights treatment technologies and reuse of sludge remaining in large volumes at the end of the treatment process. |  |  |  |  |  |  |
| Curriculum Description: |  |  |  |  |  |  |
| Topics of lectures and practices: |  |  |  |  |  |  |
| Week of Semester |  | Topic |  |  |  |  |
| 1. |  | Introduction – the origin of wastewater, the types of wastewaters Compositions of wastewater |  |  |  |  |
| 2. |  | Collection system of wastewater |  |  |  |  |
| 3. |  | Preliminary treatment technologies |  |  |  |  |
| 4. |  | Primary treatment – Sedimentation |  |  |  |  |
| 5. |  | Secondary treatment -Biological treatment |  |  |  |  |
| 6. |  | Tertiary treatment - Nutrient removal |  |  |  |  |
| 7. |  | Disinfection |  |  |  |  |
| 8. |  | Membrane technology |  |  |  |  |
| 9. |  | The types of sewage sludge and treatment |  |  |  |  |
| 10. |  | Sewage sludge uses is agriculture |  |  |  |  |
| 11. |  | Operation of BKSZT – presentation of the Budapest Wastewater Treatment Plant’s operation |  |  |  |  |
| 12. |  | Natural wastewater treatment |  |  |  |  |
| 13. |  | Decentralized wastewater treatment |  |  |  |  |
| 14. |  | Summary, pre-exam |  |  |  |  |
| Mid-semester requirements: |  |  |  |  |  |  |
| Attendance: |  |  |  |  |  |  |
| compulsory |  |  |  |  |  |  |
| Test papers, measurement records, reports, etc. (number, date) |  |  |  |  |  |  |
| 1. | Presentation + ppt presentation (max. 2*10 points= 20 points, min. 50%) |  |  |  |  |  |
| 2. | Written exam (max.60 points, min. 40%) |  |  |  |  |  |
| Methods of qualification: |  |  |  |  |  |  |
| Basis of exam’s marking: - attendance at lectures, - passing written examination (60 points, minimum 40%) at the end of the semester, - submit essay and present it. Marking: max. 60 points for written examination and + 20 points for essay/presentation, all together max. 80 points 0-31 points: fail (1), 32-43 points: pass (2), 44-55 points: satisfactory (3), 56--67points: good (4), 68-80 points: excellent (5) In case of mid-semester mark fail (1), correction opportunities are available according to 17§(6) of Education and Examination Regulations . |  |  |  |  |  |  |
| Professional competencies: |  |  |  |  |  |  |
| Comprehensive knowledge of the basic features and interrelations of environmental elements and systems, as well as of the environmentally harmful substances affecting them. Knowledge of major environmental technologies, equipment and structures associated with each technology, including the functioning and operation thereof. Able to perform basic tests of the quantity and quality characteristics of environmental elements and systems by state-of-the-art measuring instruments; to draw up and implement measurement plans; and to evaluate data. Able to solve tasks of water, soil, air, radiation, and noise protection, as well as of waste treatment and processing at proposal level; to participate in preparing decisions; to perform authority audits; and to take part in the operation of these technologies. Able to carry out management duties subject to sufficient professional experience. Able to reveal deficiencies in the technologies applied and process risks and to initiate mitigation measures after getting familiarized with the technology concerned. Constantly upgrading their knowledge of environment protection by attending organized professional development training courses. |  |  |  |  |  |  |
| Literature: |  |  |  |  |  |  |
| Nicholas P. Cheremisinoff, Ph.D.: Handbook of water and wastewater treatment technologies, ISBN: 0-7506-7498-9, in e-learning system Dr. Michael R. Templeton, Prof. David Butler: Introduction to wastewater treatment in e-learning system, bookboon.com, 2011., ISBN: 978-87-7681-843-2 Frank Spellman: Water and Wastewater Treatment, Taylor & Francis Inc, 2012, ISBN: 9781439854006 |  |  |  |  |  |  |